INFORMATION ON DOCTORAL THESIS

| 1. | Full name: Nguyen Thi Quynh Hoa | 2. | Sex: Female |
| --- | --- | --- | --- |
| 3. | Date of birth: 20/11/1983 | 4. | Place of birth: Hung Yen |

- Admission decision number: 4982/QD-SDH signed on 27/11/2013 by the Rector of VNU University of Science

- Changes in academic process: Non

- Official thesis title: Study on the application of CE-C4D capillary electrophoresis contactless conductivity on the determination of some food additives and beta-agonist.

8. Major: Analytical Chemistry	9. Code: 62 44 01 18

10. Supervisors: Assoc. Prof., Dr. Pham Thi Ngoc Mai,

Dr. Nguyen Thi Anh Huong

- Summary of the new findings of the thesis

  - Studied the suitable conditions of CE-C4D method for the determination of several food additives (including several acid preservatives, sweeteners) and beta-agonist.

  - Developed the solid phase extraction procedure for the cleaning and enrichment of salbutamol in pig urine and pig meat for the determination by CE-C4D.

  - Evaluated the accuracy and realibility of developed analytical procedures.

  - Applied the analytical procedures for the analysis of several food, pig urine and pig meat samples.

- Practical applicability, if any: With small and compact equipment, low cost, the analytical method ensures the accuracy and reliability, which is very suitable for the analysis of food additives in food and salbutamol in pig urine and pig meat, especially suitable for the application in local laboratories and even for in-field analysis.

- Further research directions, if any: Enhance the sensitivity of method using online enrichment techniques.

- Thesis-related publications:

[1]. Thi Anh Huong Nguyen, Thi Ngoc Mai Pham, Thi Tuoi Doan, Thi Thao Ta, Jorge Sáiz, Thi Quynh Hoa Nguyen, Peter C. Hauser, Thanh Duc Mai (2014), “Simple semi-automated portable capillary electrophoresis instrument with contactless conductivity detection for the determination of <beta>- agonists in pharmaceutical and pig- feed samples”, J. Chromatogr. A, 1360, pp. 305–311, 2014.

[2]. Doan Thi Tuoi, Nguyen Thi Hang, Nguyen Thi Quynh Hoa, Mai Thanh Duc, Pham Thi Ngoc Mai, Nguyen Thi Anh Huong (2015), “Determination of salbutamol and ractopamine by capillary electrophoresis with contactless conductivity detection (CE - C4D)”, Journal of Analytical Sciences, 20(2), pp.44-50.

- Nguyen Thi Quynh Hoa, Nguyen Thi Lien, Nguyen Thi Minh Hoa, Le Thi Hong Hao, Pham Thi Ngoc Mai, Nguyen Thi Anh Huong (2015), “Simultaneous determination of some sweeteners in food by capillary electrophoresis with capacitively coupled contactless conductivity detection (CE - C4D)”, VietNam Journal of Chemistry, 53(5e3), pp.94-98.

- Nguyen Thi Quynh Hoa, Tran Thi Trang, Duong Thi Nhan, Nguyen Thi Lien, Pham Thi Ngoc Mai, Nguyen Thi Anh Huong (2016), “Study on the solid phase extraction (SPE) for salbutamol determination in pig urine samples by capillary electrophoresis method using contactless conductivity detection (CE - C4D)”, Journal of Analytical Sciences, 21(1), pp.146-152.

- Nguyen Thi Quynh Hoa, Le Thi Hong Hao, Vu Thi Trang, Do Thi Trang, Vu Quynh Chi, Le Hoang, Pham Thi Ngoc Mai, Nguyen Thi Anh Huong (2016),

“Simultaneous determination of formic acid, acetic acid, propionic acid and butyric acid by capillary electrophoresis with capacitively coupled contactless conductivity detection (CE - C4D)” Journal of Analytical Sciences, 21(4), pp.64-75.

[6]. Thi Hong Hao Le, Thi Quynh Hoa Nguyen, Hoang Le, Thi Trang Vu, Thi Lien Nguyen, Van Hoang Cao, Thi Thao Ta, Thi Ngoc Mai Pham, Thi Anh Huong Nguyen, Thanh Duc Mai (2017), “Inexpensive and unsophisticated measurement tool for food control based on capillary electrophoresis instruments coupled with contactless conductivity detection: A case study in Vietnam”, Food Control, 77, pp. 281–289.